## PACKAGE I
ABC BREAKDOWN
Cost Center Name/No. |  | DINAGAT DIESEL POWER PLANT
PR No. |  | S3-DIN22-003
Project/Item Title |  | SUPPLY AND DELIVERY OF ELECTRICAL SPARE PARTS FOR AUTO RECLOSER, AUTOMATIC CIRCUIT RECLOSER, 800A, 15.5KV, 3 PHASE, MODULAR TYPE RC10 CONTROL, INCLUDING I/O MODULE WITH ALARM PANEL & COMPLETE ACCESSORIES OF DINAGAT DPP.
ITEM | PARTICULARS |  | QTY | UNIT | DETAILS OF ABC
| DESCRIPTION | PARTS NO. |  |  | UNIT PRICE/PHP | TOTAL PRICE
1 | SUPPLY AND DELIVERY OF ELECTRICAL SPARE PARTS FOR AUTO RECLOSER, AUTOMATIC CIRCUIT RECLOSER, 800A, 15.5KV, 3 PHASE, MODULAR TYPE RC10 CONTROL, INCLUDING I/O MODULE WITH ALARM PANEL & COMPLETE ACCESSORIES |  | 1 | SET | 995000 | 995000
Additional Specifications:
1. With Arc Fault Vented Solid Di-electric recloser that improves safety
2. With Three (3) Current Transformers and Six(6) Voltage Screens
3. With Voltage Sensing on either side of the interrupter combined with class leading current detection allows versatile protection feature set from overcurrent through auto synchronizer and frequency protection
4. Recloser that can detect and operate SEF currents below 1A
5. Complete Software and operations manual
6. With One(1) year warranty
[5 empty] | GRAND TOTAL | 995000
Prepared by: |  |  | Approved by:
| R.U. FULLIDO |  | Y. H. DARAYAN
| (End User) |  | Dept. Manager, MOD