**Section VI - Technical Specifications**

**Part II - Technical Data Sheets**

**table of contents**

|  |  |  |
| --- | --- | --- |
| **SECTION** | **DESCRIPTION** | **PAGE** |
| 1.0 |  |  |

**PART II – TECHNICAL DATA SHEETS**

**SUPPLY AND DELIVERY OF MATERIALS FOR THE PREVENTIVE MAINTENANCE SERVICING OF POWER TRANSFORMERS**

1. The Bidder shall complete this technical data sheet and submit the filled-up form with the technical proposal. The Bidder shall use continuation sheets as necessary for any other additional information keeping to the format shown herein or by reproducing the same.

2. NPC reserves the right to reject Bids without proper and/or specific data and information as required herein.

3. The data required are technical features and characteristics of the Equipment/Component/Parts to be provided by the bidder. Bidder’s proposal shall at least be equal or superior to the requirements specified by NPC.

1. **MATERIALS DATA**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **ITEM** | **DESCRIPTION** | **NPC REQUIREMENTS** | | **SUPPLIER’S DATA** | |
| **Specifications** | **QTY.** | **Offer** | **QTY** |
|  | **SUPPLY AND DELIVERY OF MATERIALS FOR THE PREVENTIVE MAINTENANCE SERVICING OF POWER TRANSFORMERS** |  | 1 lot |  |  |
| 1 | OIL, TRANSFORMER INSULATING, DIELECTRIC STRENGTH OF 70kV OR BETTER, NON-PCB CONTENT, IEC 296, 200 LITERS/DRUM, SUPPLIER TO SUBMIT TECHNICAL DATA SHEET/TEST RESULTS AND OTHER PERTINENT DOCUMENTS TO ATTEST ITS QUALITY. | As specified | 7 Drums |  |  |
| 2 | CORK GASKET, RUBBERIZED, ¼” X 1 METER WIDTH X 2 METER LONG | As specified | 4 Sheets |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |

*“If the part number(s) indicated by the bidder under the “Supplier’s Data” column is not the same to the part number indicated under the “NPC's Requirement column”, the bidder will submit/attached the corresponding Service Bulletin issued by the OEM*/*Authorized Manufacturer or any documents that will support it, such as but not limited to the Catalogue/ Brochures/Parts Manual”. Provided that* “Certification from **\*Supplier** that the item(s) offered is the same as required in the Tender Documents” *must be submitted as post qualification requirement.*

Note:

**\*Supplier** refers to those mentioned/ covered under **a.2.4**

*TS- DRAWINGS AND DOCUMENTS TO BE SUBMITTED*

(*Section VI – Technical Specifications*)

(a.2.4 Distributor/Dealer, a Certificate of Authorized Distributorship/Dealership from the OEM or Authorized Manufacturer of OEM Parts or Licensee of the OEM.)

(The authority can be acquired from the OEM, Manufacturer of OEM Parts or Licensee of the OEM.)

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  |  |  |  |
| **Name of Bidder** |  | **Name and Signature of Authorized Representative** |  | **Signature** |