## DAIHATSU
SUPPLY AND DELIVERY OF MATERIALS FOR THE PREVENTIVE MAINTENANCE SERVICING OF POWER TRANSFORMERS PR NO. : S3-MMT24-002
Section VII - SCHEDULE OF REQUIREMENTS
( Bid Price Schedule )
SUPPLY AND DELIVERY OF MATERIALS FOR THE PREVENTIVE MAINTENANCE SERVICING OF POWER TRANSFORMERS
ITEM NO. |  | QTY.- UNIT |  | * CODE | UNIT PRICE FOR GOODS AND RELATED SERVICES TO BE SUPPLIED AND DELIVERED |  |  |  |  | TOTAL PRICE
[5 empty] | Total Price of Goods Delivered up to Philippine Port (Phil. Peso)+ | Import Duties & other Levies Imposed by Phil. Govt. (Phil. Peso) | Value Added Tax and other Taxes Imposed by Phil. Govt. (Phil. Peso) | Local Transport from Port to Delivery Site (Phil. Peso)< | Total Unit Price (Phil. Peso) ( E+F+G+H ) | Local Currency (Phil. Peso) ( J = I x C )
(A) |  | ( C ) |  | (D) | (E) | (F) | (G) | (H) | (I) | (J)
| SUPPLY AND DELIVERY OF MATERIALS FOR THE PREVENTIVE MAINTENANCE SERVICING OF POWER TRANSFORMERS | 1 | lot
1 | Oil, Transformer, insulating, dielectric strength of | 7 | Drum
70kV or better, non-PCB content, IEC 296,
200 Liters/drum, supplier to submit technical data
sheet/test results and other pertinent documents
to attest to its quality.
2 | Cork gasket, Rubberized, 1/4" x 1 meter width | 4 | Sheet
x 2 meter long
* | Bidders shall enter a code representing the Country of Origin of all imported | [6 empty] | Code |  | Country of Origin
equipment, materials and accessories
+ | Cost of equipment, freight, insurance, etc. up to Phil. port of entry
< | Unit Price for Local Transportation, insurance and other local costs incidental to
delivery of the goods from the Phil port of entry to final delivery site
Note: | Final delivery site of spare parts shall be at NPC - MOD, AFD – Warehouse, Mintal, Tugbok District, Davao City
Name of Bidder:
Signature of Bidder: