Section VI	-	Technical Specifications

Part II - Technical Data Sheets

table of contents

| SECTION | DESCRIPTION | PAGE |
| --- | --- | --- |
| 1.0 | SPARE PARTS DATA | TDS-1 |

PART II – TECHNICAL DATA SHEETS

SUPPLY AND DELIVERY OF MECHANICAL SPARE FOR MAN GENERATING SET OF DINAGAT DPP.

1.	The Bidder shall complete this technical data sheet and submit the filled-up form with the technical proposal.  The Bidder shall use continuation sheets as necessary for any other additional information keeping to the format shown herein or by reproducing the same.

2.	NPC reserves the right to reject Bids without proper and/or specific data and information as required herein.

3.	The data required are technical features and characteristics of the Equipment/Component/Parts to be provided by the bidder.  Bidder’s proposal shall at least be equal or superior to the requirements specified by NPC.

- SPARE PARTS DATA

MODEL NO. MAN CXZ 6L 20/27 SERIAL NO.

| ITEM | DESCRIPTION | NPC REQUIREMENTS |  |  | SUPPLIER’S DATA |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | PART NO. | QTY. |  | PART NO. | QTY |
| 1 | FRESH WATER PUMP COMPLETE PN: X20.35000-0011, CLOCKWISE ROTATION FOR MAN CXZ 6L 20/27 | X20.35000-0011, | 2 | PCS |  |  |

“If the part number(s) indicated by the bidder under the “Supplier’s Data” column is not the same to the part number indicated under the “NPC's Requirement column”, the bidder will submit/attached the corresponding Service Bulletin issued by the OEM/Authorized Manufacturer or any documents that will support it, such as but not limited to the Catalogue/ Brochures/Parts Manual”. Provided that “Certification from *Supplier that the item(s) offered is the same as required in the Tender Documents”must be submitted as post qualification requirement.

Note:

*Supplierrefers to those mentioned/ covered under a.2.4

TS- DRAWINGS AND DOCUMENTS TO BE SUBMITTED

(Section VI – Technical Specifications)

(a.2.4	Distributor/Dealer, a Certificate of Authorized Distributorship/Dealership from the OEM or Authorized Manufacturer of OEM Parts or Licensee of the OEM.)

(The authority can be acquired from OEM, Manufacturer of OEM Parts or Licensee of the OEM.)

| Name of Bidder |  | Name and Signature of Authorized Representative |  | Signature |
| --- | --- | --- | --- | --- |